## MFCInventory-ReadDirectlyByFlar
MFC Label | Brand | Rated Gas | Rated Range [SLPM, @0C] | Rated Range [LPM, @20C] | Model | serial# | Tag | Comm Port | Node | IDH | IDM | IDL | IDS | Baud | Read Unit | Write Unit | Control | Last Known Location | Calibration Sheet On j_group
AU-150C3H8-M18203157A | Bronkhorst | PROPANE | 150 |  | F-203AV-M50-RAD-55-V | M18203157A | 8203157A | 16 | 3 | [5 empty] | % | % | ?? | Flare Lab
AV-50C4H10-M18203157B | Bronkhorst | BUTANE | 50 |  | F-112AC-M20-RAD-55-V | M18203157B | 8203157B | 16 | 4 | [5 empty] | % | % | ?? | Flare Lab
AL-40CH4-M16217183A | Bronkhorst | METHANE | 40 |  | F-201AV-50K-RAD-22-V | M16217183A | 6217183A | 19 | 5 | [5 empty] | % | %
AN-326CH4-M18216083B | Bronkhorst | METHANE | 326.1214 | 350 | F-002AV-LFU-55-V | M18216083B | 8216083B | 16 | 6 | [5 empty] | % | % |  | Canal Storage
AO-10AIR-M18204658C | Bronkhorst | AIR | 10 |  | F-201CV-10K-RAD-55-V | M18204658C | 8204658C | 16 | 7 | [5 empty] | % | %
AP-0.2AIR-M16204858B | Bronkhorst | NITROGEN | 0.2 |  | F-201CV-200-RAD-55-V | M16204858B | 6204858B | 16 | 8 | [5 empty] | % | % |  | Flare Lab
AQ-0.2-M18204658A | Bronkhorst | METHANE | 0.2 |  | F-201CV-200-RAD-55-V | M18204658A | 8204658A | 16 | 9 | [5 empty] | % | %
AR-0.5AIR-M18216083F | Bronkhorst | AIR | 0.46589 | 0.5 | F-201CV-500-RAD-55-V | M18216083F | 8216083F | 16 | 10 | [5 empty] | % | %
AS-2AIR-M18216083E | Bronkhorst | AIR | 1.8636 | 2 | F-201CV-2K0-RAD-55-V | M18216083E | 8216083E | 16 | 11 | [5 empty] | % | %
AM-186CH4-M18216083D | Bronkhorst | METHANE | 186.3551 | 200 | F-002AV-LFU-55-V | M18216083D | 8216083D | 16 | 12 | [5 empty] | % | %
AT-200CO2-M19202426A | Bronkhorst | CARBON DIOXIDE | 200 |  | F-203AC-M50-RAD-55-V | M19202426A |  | 16 | 13 | [5 empty] | % | % |  | Canal Storage
AW-250CH4-M19202426B | Bronkhorst | METHANE | 250 |  | F-203AC-M50-RAD-55-V | M19202426B |  | 16 | 14 | [5 empty] | % | % |  | Canal Storage
AX-3C3H8-M19203846A | Bronkhorst | PROPANE | 3 |  | F-201CV-10K-RAD-22-V | M19203846A |  | 16 | 15 | [5 empty] | % | % |  | Flare Lab
AY-1C4H10-M19203846B | Bronkhorst | BUTANE | 1 |  | F-201CV-5K0-RAD-22-V | M19203846B |  | 16 | 16 | [5 empty] | % | % |  | Flare Lab
AZ-100CH4-M19212142A | Bronkhorst | METHANE | 93.1776 | 100 | F-202AV-M10-RAD-55-V | M19212142A |  | 16 | 17 | [5 empty] | % | % |  | Canal 2102
BA-100N2-M19212142B | Bronkhorst | NITROGEN | 93.1776 | 100 | F-202AV-M10-RAD-55-V | M19212142B |  | 16 | 18 | [5 empty] | % | % |  | Canal 2102
BB-5C4H10-M19210844B | Bronkhorst | BUTANE | 5 |  | F-201CV-20K-RAD-55-V | M19210844B |  | 16 | 19 | [5 empty] | % | %
BC-0.5C4H10-M19210844A | Bronkhorst | BUTANE | 0.5 |  | F-201CV-5K0-RAD-55-V | M19210844A |  | 16 | 20 | [5 empty] | % | %
BD-100CH4-M20201229B | Bronkhorst | METHANE | 93.1776 | 100 | F-202AV-M10-RAD-55-V | M20201229B |  | 16 | 21 | [5 empty] | % | % |  | Canal 2102
BE-100N2-M20201229A | Bronkhorst | NITROGEN | 93.1776 | 100 | F-202AV-M10-RAD-55-V | M20201229A |  | 16 | 22 | [5 empty] | % | % |  | Canal 2102
BF-100AIR-M21202718A | Bronkhorst | AIR | 93.1776 | 100 | F-202AV-M10-RAD-55-V | M21202718A |  | 16 | 23 | [5 empty] | % | % |  | Canal 2102
BG-100N2-M21202718B | Bronkhorst | NITROGEN | 93.1776 | 100 | F-202AV-M10-RAD-55-V | M21202718B |  | 16 | 24 | [5 empty] | % | % |  | Canal 2102
BH-500CH4-M20211084A | Bronkhorst | METHANE | 465.8878 | 500 | F-203AI-M50-RAD-55-V | M20211084A |  | 16 | 25 | [5 empty] | % | % |  | Canal 2102
BI-10AIR-M18201159B | Bronkhorst | AIR | 9.3178 | 10 | F-201CB-10K-AAD-00-V | M18201159B |  | 0 | 0 | [5 empty] | % | % |  | Canal 2102. Note appears to want 14.7psia input. El-BASE, No node
BJ-0.005CO-M22200438B | Bronkhorst | CARBON MONOXIDE | 0.0046589 | 0.005 | F-200CV-002-RAD-22-V | M22200438B |  | 16 | 26 | [5 empty] | % | % |  | Canal 2102
BK-20N2O-M24200697A | Bronkhorst | NITROUS OXIDE | 20 | 21.4644 | F-201AI-50K-RAD-22-V | M24200697A |  | 16 | 27 | [5 empty] | % | % |  | Canal 2102
BL-20C2H2-M24200697B | Bronkhorst | ACETYLENE | 20 | 21.4644 | F-201AI-50K-RAD-22-Z | M24200697B |  | 16 | 28 | [5 empty] | % | % |  | Canal 2102
BM-50CH4-M24200697C | Bronkhorst | METHANE | 50 | 53.661 | F-201AI-50K-RAD-22-Z | M24200697C |  | 16 | 29 | [5 empty] | % | % |  | Canal 2102
BN-0.015CH4-M22200438C | Bronkhorst | METHANE | 0.013977 | 0.015 | F-201CV-020-RAD-22-V | M22200438C |  | 16 | 30 | [5 empty] | % | % |  | Canal 2102
BO-2CO2-M2220043A | Bronkhorst | CARBON DIOXIDE | 1.8636 | 2 | F-201CV-5K0-RAD-22-X | M22200438A | [11 empty] | Canal 2102
A-50C2H6-110010410666001 | Brooks | ETHANE | 50 |  | SLA5851S | 110000000000000 | 10666001 | 20 |  | 1 | 4 | 41 | 50 | 38400 | % | % | RS485 | Flare Lab
AA-60CH4-105080292363001 | Brooks | METHANE | 60 |  | 5851S/BD | 105000000000000 | 92363001 | 20 | [8 empty] | 0-5V | Flare Lab
AB-2CH4-106070316101002 | Brooks | METHANE | 2 |  | 5850S/BC | 106000000000000 | 16101002 | 20 |  | did not reply | [6 empty] | 0-5V | Flare Lab
AC-20C2H6-106080318105001 | Brooks | ETHANE | 20 |  | 5851S/BD | 106000000000000 | 18105001 | 20 | [8 empty] | 0-5V | Flare Lab
AD-20AIR-106080318157001 | Brooks | AIR | 20 |  | 5850S/BC | 106000000000000 | 18157001 | 20 | [8 empty] | 0-5V | Flare Lab
AE-0.5N2-01B20350472 | Brooks | NITROGEN | 0.5 |  | SLA5853S 2EAB2A2A1 | 01B20350472 | 20350472 | 20 |  | 199 | 255 | 222 | 50 | 19200 | % | % | Digital | Flare Lab
AF-5N2-107010331537001 | Brooks | NITROGEN | 5 |  | 5850S/BC | 107000000000000 | 31537001 | 20 |  | did not reply | [6 empty] | 0-5V | Flare Lab
AG-200N2-108010357720003 | Brooks | AIR | 200 |  | 5853S/BE | 108000000000000 | 57720003 | 20 |  | did not reply | [6 empty] | Analog (+digital?) | ME 3284
AH-1000N2-0111080470021001 | Brooks | NITROGEN | 1000 |  | SLA5853S 2EAB2A2A1 | 111000000000000 | 70021001 | 20 |  | did not reply | [6 empty] | Digital | Flare Lab
AI-0.86N2-E4101701001 | Brooks | NITROGEN | 0.86 |  | GF040 | E4101701001 | 1701001 | 20 |  | 25 | 244 | 137 | 90 | 19200 | SmLPM | % | ?? | Flare Lab
AJ-5C2H2-01B30501347 | Brooks | ACETYLENE | 5 |  | SLAMF50S1BAB1K2A1 | 01B30501347 | 30501347 | 20 | [8 empty] | ?? | Flare Lab
AK-300N2-01B62700560 | Brooks | AIR | 300 |  | SLA5853S2DAB2B2A1 | 01B62700560 | 62700560 | 20 | [8 empty] | ?? | CB 2102
B-10C4H10-110010410666003 | Brooks | BUTANE | 10 |  | SLA5851S | 110000000000000 | 10666003 | 20 |  | 16 | 70 | 107 | 50 | 19200 | % | % | RS485 | Flare Lab
C-20CO2-0110010410666002 | Brooks | CARBON DIOXIDE | 20 |  | SLA5851S | 110000000000000 | 10666002 | 20 |  | 16 | 70 | 106 | 50 | 19200 | % | % | RS485 | Flare Lab
D-10CH4-111080470030001 | Brooks | METHANE | 10 |  | SLS5850S 1PAB1A2A1 | 111000000000000 | 70030001 | 20 |  | 106 | 219 | 121 | 50 | 19200 | % | % | RS485 | Flare Lab
E-2AIR-107060341313001 | Brooks | AIR | 2 |  | 5850S/BC | 107000000000000 | 41313001 | 20 |  | 63 | 9 | 229 | 50 | 19200 | SmLPM | % | RS485 | Flare Lab
F-40H2-110010410665001 | Brooks | HYDROGEN | 40 |  | SLA5851S1PAB1C1A1 | 110000000000000 | 10665001 | 20 |  | 16 | 70 | 5 | 50 | 19200 | % | % |  | Flare Lab
H-400CH4-108010357720005 | Brooks | METHANE | 400 |  | 5853S | 108000000000000 | 57720005 | 20 |  | 88 | 18 | 229 | 53 | 19200 | SLPM | % | RS485 | Flare Lab
I-16N2-T65953001 | Brooks | NITROGEN | 16 |  | 5850S/BC | T65953001 | 65953001 | 20 |  | 100 | 162 | 229 | 50 | 19200 | SLPM | % | RS485 | Flare Lab
J-50CO2-106080318109001 | Brooks | CARBON DIOXIDE | 50 |  | 5851S | 0106680S18109001 | 18109001 | 20 |  | 27 | 161 | 213 | 51 | 19200 | SLPM | % | RS485 | Flare Lab
K-20AIR-106080318106001 | Brooks | AIR | 20 |  | 5851S/BD | 106000000000000 | 18106001 | 20 |  | 27 | 160 | 169 | 51 | 19200 | SLPM | % | RS485 | Flare Lab
M-200AIR-108010357720003 | Brooks | AIR | 200 |  | SLA5853S | 80100000000000 | 57720003 | 20 |  | 88 | 18 | 227 | 53 | 19200 | SLPM | % |  | Flare Lab
N-200AIR-108010357720004 | Brooks | AIR | 200 |  | 5853S/BE | 108000000000000 | 57720004 | 20 | [8 empty] | Analog (+digital?) | Flare Lab
O-40H2-110010410665002 | Brooks | HYDROGEN | 40 |  | SLA5851S1PAB1C1A1 | 110000000000000 | 10665002 | 20 |  | 16 | 70 | 6 | 50 | 19200 | % | % | RS232 | Flare Lab
P-200H2-111030454952002 | Brooks | HYDROGEN | 200 |  | SLA5851S1DAB1B1A1 | 111000000000000 | 54952002 | 20 |  | did not reply | [6 empty] | Analog (+digital?) | Flare Lab
Q-200H2-111030454952001 | Brooks | HYDROGEN | 200 |  | SLA5851S1DAB1B1A1 | 111000000000000 | 54952001 | 20 |  | 83 | 217 | 161 | 50 | 19200 | SLPM | % | Analog (+digital?) | Flare Lab
T-25C3H8-0110010410666004 | Brooks | PROPANE | 25 |  | SLA5851S | 110000000000000 | 10666004 | 20 |  | 16 | 70 | 108 | 50 | 38400 | % | % | RS485 | Flare Lab
V-70N2-110010410664002 | Brooks | NITROGEN | 70 |  | SLA5851S1PAB1C1A1 | 110000000000000 | 10664001 | 20 |  | 16 | 69 | 161 | 50 | 19200 | % | % | Analog (+digital?) | Flare Lab
W-100AIR-0106080318108001 | Brooks | AIR | 100 |  | 5851S/BD | 106000000000000 | 18108001 | 20 |  | 27 | 161 | 113 | 51 | 19200 | SLPM | % | Digital | Flare Lab
X-300AIR-01B62700560 | Brooks | AIR | 300 |  | SLA5800 | 01B62700560 | 62700560 | 20 |  | 188 | 188 | 16 | 100 | 19200 | SmLPM | % |  | Canal Lab
Y-70N2-110010410664001 | Brooks | NITROGEN | 70 |  | SLA5851 | 110000000000000 | 10664002 | 20 |  | 142 | 19 | 125 | 50 | 19200 | % | % | RS485 | Flare Lab
Z-3C4H10-109070393111001 | Brooks | BUTANE | 3 |  | SLA5850S1BAB6B2A1 | 109000000000000 | 93111001 | 20
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note Bronkhost defines Standard at 20C and calls it ls/min

## Gas Conversion Factors
AIR | 0.998
C2H2 | 0.615 | From | CH4 | → | 3 | CH4 [SLPM]
C2H4 | 0.619 | To | C2H6 |  | 1.9266 | C2H6 [SLPM]
C2H6 | 0.49 | Conversion Factor | 0.6422
C3H8 | 0.343
C4H10 | 0.257
CH4 | 0.763
CO | 0.995
CO2 | 0.74
H2 | 1.008
He | 1.445
N2 | 1